# LIST OF TESTING EQUIPMENT

| S.No | Name of Equipment | Range | Least Count |
| --- | --- | --- | --- |
| 01. | Tensile strength Testing M/C | 500 kgf/2504/100/4 | 1/0.5/0.2 |
| 02. | Dumb bell Cutting press & die etc. |  |  |
| 03. | High voltage Test set. AC. | 5/10 KV | 0.1 KV |
| 04. | D.C. Break down tester | 0-2 KV (DC) | 0.1 KV |
| 05. | Spark Tester | 0-15 KV(DC) | 0.5 KV |
| 06. | Industrial Kalvin Double bridge set with Spot reflecting galvanometer And D.C. Source | 11 Ohms (max.) | 0.2 micro - ohm |
| 07. | Million mego ohm meter | 6 10 x 10 M – ohm | 1 M ohm |
| 08. | Thermal stability test Apparatus with accessories | 0-250°C | 0.1°C |
| 09. | Universal Heating oven with Thermostatic Heat control | 0-250°C | 0.1°C |
| 10. | Water Bath with thermo- static heat control | 0-250°C | 0.1°C |
| 11. | Digital Balance | 200 gms | 0.1 mg |
| 12. | Ageing Oven(Four in one) With Thermostatic control and Controlled air supply. | 0-300°C | 0.1°C |
| 13. | Hot deformation test set With weight | - | - |
| 14. | Conditioning Chamber | -15 to 50°C | 1°C |
| 15. | Microscope | 15 cms | 0.01 mm |
| 16. | Deep Freezer with mandrels | -15°C to +50 ° C | 1°C |
| 17. | Cold impact & cold bend Test apparatus with required Mandrels of different diameters | Different diameters Mandreals | - |
| 18. | Torsion Testing apparatus. |  | - |
|  |  | Contd... 2.. |  |

|  | .. 2.. |  |  |
| --- | --- | --- | --- |
| 19. | Flammability test apparatus | 600 mm in between clamps | -- |
| 20. | Magnifying glass | 1:10 |  |
| 21. | Chemicals & chemical apparatus | For testing of steel Wires & formed wires | - |
| 22. | Vernier Calliper | 0-150 mm. | 0.02 |
| 23. | Micrometer | 0-25 mm | 0.01 |
| 24. | Micrometer | 0-25 mm | 0.001 |
| 25. | Meggar | 2500 V | ---- |
| 26. | Stop Watch | 15 min | 1 second |
| 27. | Oxygen Index & Temperature Index Test apparatus | As per ASTM 2863 | ---- |
| 28. | Smoke Density test apparatus | As per ASTM 2843 | ---- |
| 29. | Hcl Gas Emission test apparatus | As per IEC – 754–I | ----- |
| 30. | Flammability test apparatus | As per IEC – 383 |  |
| 31. | Swedish Chemney test apparatus | As per SS-424-14-75—Class F3 | ---- |
| 32. | Flammability test apparatus | As per IEC-332-1 | --- |
| 33. | Hot set test equipment | IS:7098 Part –I | 1° C |
| 34. | Water abscorption test set | IS:7098 Part-I | ---- |
| 35. | Physical balance | 100 Grams | 0.1mg |
| 36. | Standard Resistance Box | 01 ohms to 1000 ohms | 0.001 |
| 37. | Standard Megohm Box | 2 M ohms to 2 G. ohms | 2 M. ohms |
| 38. | 3.5 Digit Multimeter with Multiplier 40 KV | DM-352 | - |